## Water
Indiana American Water (9244) |  | 2024 | Usage in Gallons
Amount in US$
DATABASE | Address | Building | Building Types |  | Meter | Jul Amount | Jul. Usage | Aug. Amount | Aug. Usage | Sept. Amount | Sept. Usage | Oct. Amount | Oct. Usage | Nov. Amount | Nov. Usage | Dec. Amount | Dec. Usage | Jan. Amount | Jan. Usage | Feb. Amount | Feb. Usage | Mar. Amount | Mar. Usage | Apr. Amount | Apr. Usage | May. Amount | May. Usage | Jun. Amount | Jun. Usage | DATA MANAGEMENT | Overview of Earlham College's Water Usage
|  |  |  | Account No. | [26 empty] | Months | Usage | Cost | Academic | Operational | Residence Halls | Campus Village | College Houses | Athletics
| 1000 Gurney | Sadler Stadium | Athletics | 220005467464 | 64299152C | 50.21 | 700 | 172.27 | 70 | [8 empty] | 172.27 | 0 | 172.27 | 190 | 65.73 | 2904 | [7 empty] | July | 3151485 | 21538.33 | 42000 | 1540041 | 0 | 217076 | 191735 | 1125200 | 408811
| 1052 Gurney | Horsebarn | Operational | 210005936260 | 27632570 | 172.82 | 11627 | 363.93 | 17990 | [8 empty] | 52.17 | 1800 | 62.38 | 2631 | 95.02 | 5200 | [7 empty] | August | 1516180 | 10455.67 | 175400 | 21182 | 0 | 27178 | 39760 | 1217870 | 66938
| 1052 Gurney Irrigation | Irrigation | Irrigation | 220040645175 | 93934346C | 369.42 | 19140 | 175.75 | 11865 | [8 empty] | 172.27 | 30 | 172.27 | 10 | 172.27 | 900 | [7 empty] | September | 791200 | 5153.26 | 199600 | 0 | 0 | 0 | 0 | 591600 | 0
| 1003/1007 Gurney | Campus Village | Campus Village | 220025145348 | 64574279C | 54.04 | 1800 | [10 empty] | 79.18 | 4000 | 95.14 | 5300 | 103.74 | 6000 | [7 empty] | October | 724200 | 4917.77 | 235400 | 0 | 0 | 0 | 0 | 488800 | 0
| 1011/1013 Gurney | Campus Village | Campus Village | 220025145379 | 091284308A/27817759C | 25.55 | [11 empty] | 33.7 | 2400 | 46.57 | 400 | 40.53 | 2800 | [7 empty] | November | 215500 | 2318.07 | 211100 | 0 | 0 | 0 | 0 | 4400 | 0
| 1015/1017 Gurney | Campus Village | Campus Village | 220025145423 | 27318552C | 24.57 | 922 | 36.11 | 2440 | [8 empty] | 24.57 | 748 | 25.47 | 1573 | 26.34 | 1644 | [7 empty] | December | 167500 | 2187.06 | 116000 | 0 | 0 | 0 | 0 | 51500 | 0
| 1023/1025 Gurney | Campus Village | Campus Village | 220025145515 | 27957362C | 53.4 | 1900 | 95.14 | 5300 | [8 empty] | 82.87 | 4300 | 87.78 | 4700 | 82.87 | 4300 | [7 empty] | January | 1519294 | 13993.69 | 161800 | 1227330 | 0 | 45887 | 68781 | 8300 | 114668
| 1027/1029/1031/1033 Gurney | Campus Village | Campus Village | 220025145522 | 085784703A/27957362C | 72.8 | 5236 | [10 empty] | 33.7 | 2244 | 39.84 | 300 | 38.08 | 2600 | [7 empty] | Febuary | 1686970 | 15284.62 | 210200 | 1273432 | 0 | 41782 | 148257 | 7290 | 190039
| 1035/1037 Gurney | Campus Village | Campus Village | 220025145546 | 090308866A/27817622C | 25.56 | 1496 | [10 empty] | 24.57 | 0 | 44.12 | 400 | 61.4 | 4500 | [7 empty] | March | 416068 | 8208.07 | 500 | 10200 | 6100 | 72581 | 111477 | 13004
| 1039/1041/1043/1045 Gurney | Campus Village | Campus Village | 220025145560 | 091284580A/27817660C | 25.85 | 748 | [10 empty] | 33.7 | 2244 | 50.89 | 300 | 137.52 | 10700 | [7 empty] | April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1051/1053 Gurney | Campus Village | Campus Village | 220025145560 | 091284614A/27817658C | 36.11 | 2244 | [10 empty] | 42.89 | 2992 | 74.12 | 700 | 66.68 | 4600 | [7 empty] | May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1000 Gurney Irrig | Miller Farm | Irrigation | 220040493251 | 93934343C | 172.27 | 40 | [10 empty] | 172.27 | 0 | 172.27 | 190 | 172.27 | 4700 | [7 empty] | June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1002/1004 Woolman | Campus Village | Campus Village | 220012670381 | 27318518C | 24.57 | 383 | 66.85 | 4944 | [8 empty] | 55.53 | 4022 | 79.07 | 5939 | 70.08 | 5207
| 1012/1016 Woolman | Campus Village | Campus Village | 210005879954 | 27318805C | 25.37 | 1565 | 61.67 | 4522 | [8 empty] | 61.04 | 2469 | 45.23 | 3183 | 42.95 | 2997
| 1015/1017 Woolman | Campus Village | Campus Village | 210005935663 | 27654467C | 40.62 | 2807 | 24.57 | 40 | [8 empty] | 24.57 | 111 | 0 | 111 | 24.57 | 0
| 1019/1021 Woolman | Campus Village | Campus Village | 220012670350 | 091284100AC | 25.55 | [11 empty] | 52.07 | 3740 | 77.81 | 700 | 73.68 | 5500
| 1022/1024 Woolman | Campus Village | Campus Village | 220012670367 | 27318554C | 24.57 | 180 | 25.8 | 1600 | [8 empty] | 28.62 | 1830 | 28.94 | 1856 | 37.46 | 2550
| 1025/1029 Woolman | Campus Village | Campus Village | 220012670374 | 091284351A/27817661C | 24.57 | 1496 | [10 empty] | 52.07 | 3740 | 56.98 | 5000 | 55.36 | 4000
| 1028/1032 Woolman | Campus Village | Campus Village | 220012670343 | 27318553C | 369.42 | 191400 | 46.52 | 3288 | [8 empty] | 37.09 | 2520 | 50.4 | 3604 | 47.88 | 3399
| 1035/1037 Woolman | Campus Village | Campus Village | 220012670398 | 091284545A/27817662C | 25.82 | [11 empty] | 24.57 | 748 | 24.57 | 0 | 24.57 | 0
| 1036/1038 Woolman | Campus Village | Campus Village | 220012670404 | 64332341C | 36.8 | 2400 | [10 empty] | 30.71 | 2000 | 45.44 | 3200 | 46.67 | 3300
| 1039/1041/1043/1045 Woolman | Campus Village | Campus Village | 220025145591 | 091284544A/27817627C | 25.55 | 1496 | [10 empty] | 24.57 | 748 | 24.57 | 0 | 24.57 | 1200
| 1042/1044 Woolman | Campus Village | Campus Village | 220012670428 | 27318561C | 24.57 | 1003 | 68.08 | 5044 | [8 empty] | 49.55 | 3535 | 56.69 | 4116 | 55.07 | 3984
| 1050/1052 Woolman | Campus Village | Campus Village | 220012670435 | 091284546A/27817659C | 26.39 | [11 empty] | 24.57 | 1496 | 45.34 | 400 | 46.67 | 3300
| 223 College | Rental | Operational | 210049052438 | 091030003AC | 25.55 | [11 empty] | 33.7 | 2244 | 33.7 | 2244 | 24.57 | 200
| 227 College | Rental | Operational | 220026266187 | 091762075AC | 26.94 | 748 | [10 empty] | 94.69 | 6732 | 55.38 | 3740 | 55.38 | 500
| 228 College - R | Teague | Operational | 210004255890 | 091762019A | 25.52 |  | 25.55 | [9 empty] | 24.57 | 748 | 79.62 | 5984 | 55.05 | 800
| 229 College | Rental | Operational | [15 empty] | 200 | 25.96 | 0
| 234 College | Brown | College Houses | 210004256138 | 64409714 | 24.57 | 300 | 93.32 | 7100 | [8 empty] | 54.05 | 3900 | 70 | 5200 | 50.35 | 3600
| 240 College | Woodman | College Houses | 210004256213 | 091762455A | 24.57 | [11 empty] | 42.89 | 2992 | 61.26 | 4488 | 36.69 | 600
| 302 College | Marshall | College Houses | 210004256473 | 091762454AC | 25.56 | 1496 | [10 empty] | 88.81 | 6732 | 97.99 | 7480 | 107.17 | 1100
| 302 College - R | McNair | Operational | 210004256312 | 27632569C | 48.49 | 481 | 48.49 | 1233 | [8 empty] | 48.49 | 434 | 48.49 | 573 | 48.49 | 506
| 306 College | Doan | College Houses | 210004256589 | 27817257C | 25.55 | 200 | 25.55 | 300 | [8 empty] | 24.57 | 100 | 24.57 | 200 | 24.57 | 200
| 310 College | Hole | College Houses | 210004256688 | 64262432C | 25.55 | 200 | 25.55 | 300 | [8 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 312 College | Public Safety | Operational | 210004256756 | 090707041A/27817546C | 61.26 | 4488 | 42.89 | 2992 | [8 empty] | 33.7 | 2244 | 29.43 | 1896 | 33.16 | 2200
| 325 College | Bethany | Operational | 220026266194 | 091762124A | 0 | 0 | 0 | 0 | [8 empty] | 0 | 0 | 11.51 | 748 | 24.57 | 100
| 326 College | Gurney | College Houses | 210004256848 | 27817214C | 25.55 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 330 College | Grant | College Houses | 210004256947 | 64409621C | 25.55 | [11 empty] | 24.57 | 900 | 24.57 | 0 | 24.57 | 0
| 400 College | Thornburg | College Houses | 210007568908 | 27654657C | 24.57 |  | 25.52 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 404 College | Blue Shutters | College Houses | 220023855632 | 64262433C | 25.55 | [11 empty] | 78.59 | 5900 | 97.01 | 7400 | 90.87 | 6900
| 408/410 College | Edwards | College Houses | 210004257131 | 091762142AC | 71.42 | 5236 | [10 empty] | 61.26 | 4488 | 79.62 | 5984 | 97.99 | 1000
| 414 College | Hobbs | College Houses | 210004257223 | 091762452A | 24.57 |  | 43.84 | [9 empty] | 42.89 | 2992 | 33.7 | 2244 | 24.57 | 300
| 416 College | Wildman | College Houses | 210004257315 | 27654288C | 24.57 |  | 25.52 | 721 | [8 empty] | 70 | 5200 | 182.38 | 14354 | 157.81 | 14354
| 417 College | Unnamed | College Houses | 220019398499 | 091762136AC | 25.55 |  | 24.57 | 1496 | [8 empty] | 24.57 | 1496 | 24.57 | 1496 | 33.7 | 300
| 420 College | CCC | College Houses | 210004257414 | 084647797A | 24.57 |  | 126.49 | 9724 | [8 empty] | 33.7 | 2244 | 61.26 | 4488 | 36.39 | 600
| 426/428 College | Duplex | Operational | 210004257605 | 091762139AC | 25.55 | [11 empty] | 42.89 | 2992 | 42.89 | 2992 | 107.17 | 1100
| 430 College | Joseph Moore | Operational | 210004257704 | 27817259C | 24.57 |  | 25.52 | 200 | [8 empty] | 24.57 | 200 | 24.57 | 100 | 24.57 | 100
| 440 College | Cutter | College Houses | 210004257780 | 091762398A | 116.36 |  | 200.53 | 16456 | [8 empty] | 134.72 | 10472 | 193.48 | 15708 | 168.91 | 2100
| 446 College | Kelly | College Houses | 210004257889 | 27957165C | 24.57 |  | 25.52 | 200 | [8 empty] | 24.57 | 200 | 361.98 | 53400 | 337.41 | 53400
| 450 College | Garner | College Houses | 220016710601 | 64409665C | 24.57 | [11 empty] | 47.9 | 3400 | 84.73 | 6400 | 136.3 | 10600
| 712 College | President | Operational | 210004082016 | 091284382AC | 191.08 | 14960 | [10 empty] | 42.89 | 2992 | 42.89 | 2992 | 42.89 | 400
| 805 College | VIP |  |  | 092203335A
| 525 SW G | Fry | College Houses | 210004080263 | 64332582C | 25.55 | [11 empty] | 62.63 | 4600 | 89.64 | 6800 | 87.19 | 6600
| 130 SW 8th | Rental |  | 210039229729 | 13417612C | 25.55 | 748 | [10 empty] | 52.07 | 3740 | 33.7 | 2244 | 61.26 | 600
| 610 NRW | Russell | College Houses | 210004200883 | 27318788C | 25.52 |  | 25.55 | [9 empty] | 37.72 | 2571 | 24.57 | 0 | 24.57 | 0
| 620 NRW | Penn | College Houses | 210004255623 | 63699265 | 24.57 | [11 empty] | 58.95 | 4300 | 84.73 | 6400 | 58.94 | 6300
| 624 NRW | Reece | College Houses | 210004255524 | 27654641C | 579.91 | 100841 | 66.28 | 3463 | [8 empty] | 55.88 | 4050 | 45.72 | 3223 | 21.51 | 3223
| 700 NRW/136 SW 7th | Wilbur | College Houses | 210004255425 | 091762070A | 25.52 | [11 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 706 NRW | Bright | College Houses | 210004255333 | 13417769 | 25.52 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 712 NRW | Foster | College Houses | 210004255227 | 091762305A | 25.52 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 716 NRW | Fell | College Houses | 210004255135 | 27654962C | 25.52 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 770 NRW | Vacant | College Houses | 210006663619 | 091884007A | 25.82 | 1496 | [10 empty] | 33.7 | 2244 | 42.89 | 2992 | 33.7 | 300
| 806 NRW | Marmon | College Houses | 210004204786 | 27632626C | 515.26 | 81966 | 64.16 | [9 empty] | 48.49 | 0 | 48.49 | 0 | 24.57 | 0
| 900 NRW | Mott | College Houses | 210004204519 | 27318790C | 25.52 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 912 NRW | Darby | College Houses | 210004204403 | 27654886C | 25.52 |  | 25.55 | [9 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 701 NRW | CST | Academic | 210005850021 | 97028422 | 485.36 | 14400 | 1015.31 | 131900 | 1079.68 | 146300 | 1234.35 | 180900 | 1279.95 | 191100 | 709.99 | 63600 | 1027.82 | 134700 | 1197.25 | 172600 | 1179.82 | 6100
| 701 NRW | W/W/M | Residential | 210005850021 | 97028410 | [16 empty] | 1179.82 | 161600
| 801 NRW | Beane | Athletics | 210005865641 | 97028405C | 334.6 | 16200 | 242.07 | 7900 | 233.47 | 7200 | 373.94 | 25000 | 179.45 | 2800 | 490.17 | 51000 | 233.47 | 7200 | 211.37 | 5400 | 239.61 | 7700
| 801 NRW | Big Bill Total: | Operational | 210005789976 | Breakdown below | 10139.53 | 1523178 | [10 empty] | 8385.48 | 1210170 | 8577.37 | 1253097
| 801 NRW | CVPA | Academic | 220006350750 | 97028418C | 385.57 | 27600 | 456.64 | 43500 | 500.45 | 53300 | 505.82 | 54500 | 366.97 | 20000 | 496.43 | 52400 | 383.33 | 27100 | 430.27 | 37600 | 414.18 | 34000
| 701 NRW | Sprinkler | Athletics |  | 86731667
| 801 NRW | Sprinkler | Athletics | 210003870654 | 092224423A | 25.55 | [11 empty] | 24.57 | 0 | 24.57 | 0 | 24.57 | 0
| 701 NRW | Sprinkler | Athletics | 210007909066 | 97028412C | 172.08 | 2200 | 253.34 | 8900 | 235.93 | 7400 | 240.84 | 7800 | 164.72 | 1600 | 163.49 | 500 | 163.49 | 1100 | 165.95 | 1700 | 174.54 | 2400
| 701 NRW | Sprinkler - Soccer | Athletics | 210007909554 | 97028409C | 3773.16 | 785400 | 4073.56 | 852600 | 2095.9 | 410200 | 1711.9 | 324300 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0
| 701 NRW | Sprinkler - Softball | Athletics | 210007909301 | 97028407C | 1695.81 | 320700 | 1819.64 | 348400 | 1007.83 | 166800 | 850.92 | 131700 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0 | 163.49 | 0
| 920 Earlham Dr. 6FS | Fire Service 6" |  | 210005483117 |  | 59.04 | 32 | 57.12 | [9 empty] | 57.12 | 0 | 57.12 | 0 | 114.24 | 0
| 801 NRW 6FS | Fire Service 6" |  | 210005865894 |  | 59.04 |  | 57.12 | [9 empty] | 57.12 | 0 | 57.12 | 0 | 114.24 | 0
| 701 NRW 6FS | Fire Service 6" |  | 210005543842 |  | 59.04 | 32 | 57.12 | 21692 | [8 empty] | 57.12 | 0 | 57.12 | 0 | 114.24 | 0
| 701 NRW 10FS | Fire Service 10" |  | 210005414821 |  | 225.69 |  | 218.91 | [9 empty] | 218.91 | 0 | 218.91 | 0 | 437.83 | 0
| 609 W National Rd - ESR | Fire Service 4" |  | 210005543002 | [17 empty] | 39.34 | 0
| 18 SW 7th |  |  | 220031707512 | 092081014AC | [16 empty] | 42.89 | 400
| 609 W NATIONAL RD |  |  | 210005789884 | 97028419C
| 528 W NATIONAL RD |  |  | 210004259755 | 27700200C
| 504 NW 5 St |  |  | 210007559171 | 092224787AC
| 228 College Ave |  |  | 210004256046 | 64152782C
| 230 College Ave |  |  | 210055561258 | 27817713C/090707044AC
| 701 NRW | Matlock-Messer, Loose Locker | Athletics | 210007909066 | 97028412
|  | AWC (bottom) | Operational | 210005789976 | 8631659/97028376 |  | 69500 |  | 60600 |  | 55100 |  | 109500 |  | 68800 |  | 50500 |  | 64200 |  | 58600 |  | 54300
|  | AWC (top) | Operational | 210005789976 | 86731673/97028399 |  | 69700 |  | 60300 |  | 54800 |  | 109400 |  | 68500 |  | 49500 |  | 49500 |  | 43300 |  | 82500
|  | Barrett | Residential | 210005789976 | 86731687/97028411 |  | 356000 |  | 945600 |  | 859600 |  | 1549100 |  | 494900 |  | 190400 |  | 379900 |  | 539500 |  | 566800
|  | Boiler | Operational | 210005789976 | 86731693/97028415 |  | 286200 |  | 247600 |  | 225100 |  | 334200 |  | 298200 |  | 470200 |  | 459400 |  | 279900 |  | 230600
|  | Bundy | Residential | 210005789976 | 86731663/97028380 |  | 2400 |  | 61800 |  | 56200 |  | 97300 |  | 61700 |  | 11600 |  | 47800 |  | 68500 |  | 67200
|  | Carpenter | Academic | 210005789976 | 86731660/97028375/97028288 |  | 3000 |  | 3300 |  | 3000 |  | 3200 |  | 2800 |  | 3100 |  | 3200 |  | 35600 |  | 7100
|  | Dennis/Noyes | Academic | 210005789976 | 86731661/97028424 |  | 6000 |  | 8200 |  | 7500 |  | 9500 |  | 8200 |  | 6200 |  | 5300 |  | 7100 |  | 7400
|  | EH (including Cafeteria) | Operational | 210005789976 | 86731675/97028400 |  | 62500 |  | 180800 |  | 164400 |  | 141700 |  | 103000 |  | 25000 |  | 88200 |  | 115000 |  | 111600
|  | Hoerner | Residential | 210005789976 | 86731670/97028402 |  | 4600 |  | 800 |  | 700 |  | 200 |  | 200 |  | 51900 |  | 16300 |  | 2500 |  | 200
|  | LBC (E. vault) | Academic | 210005789976 | 86731682/97028420 |  | 2400 |  | 5100 |  | 4600 |  | 7200 |  | 4200 |  | 2900 |  | 9200 |  | 5200 |  | 4900
|  | LBC (fire service) | Academic | 210005789976 | 091284083A/27699915 |  | 0 |  | 0 |  | 0 |  | 100 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | LBC (W vault) | Academic | 210005789976 | 86731694/97028417 |  | 2400 |  | 5200 |  | 4700 |  | 7100 |  | 4200 |  | 2900 |  | 9200 |  | 5200 |  | 5000
|  | Lilly | Academic | 210005789976 | 86731685/97028390 |  | 4700 |  | 6500 |  | 5900 |  | 11500 |  | 5300 |  | 2600 |  | 5800 |  | 9200 |  | 6200
|  | Maintenance | Operational | 210005789976 | 052075123A/27957311 |  | 1200 |  | 2300 |  | 2100 |  | 2400 |  | 2500 |  | 1800 |  | 2500 |  | 2800 |  | 2400
|  | OA/Stout | Residential | 210005789976 | 88170042/97028386 |  | 10400 |  | 47000 |  | 42700 |  | 67400 |  | 48100 |  | 10600 |  | 32200 |  | 38300 |  | 37000
|  | Runyan Bottom | Operational | 210005789976 | 86731671/97028423 |  | 790900 |  | 753700 |  | 685200 |  | 964800 |  | 45400 |  | 5300 |  | 16200 |  | 21000 |  | 22400
|  | Runyan Top | Operational | 210005789976 | 86731674/97028384 |  | 200 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  | Stanley | Academic | 210005789976 | 86731695/97028379 |  | 7100 |  | 9000 |  | 8200 |  | 81400 |  | 7900 |  | 5600 |  | 7700 |  | 9000 |  | 10500
|  | Tyler | Academic | 210005789976 | 86731688/97028389 |  | 2283 |  | 2235 |  | 2019 |  | 2123 |  | 1770 |  | 1938 |  | 1970 |  | 1697 |  | 1736

## Electricity
Richmond Power & Light (9242) |  |  | Usage in kWh |  | 2024 | [11 empty] | 2025
|  |  | Amount in US$ | [13 empty] | 1401.1739 |  | 1125.5217
DATABASE | Address | Building | Building Types | Meter | Jul Amount | Jul. Usage | Aug. Amount | Aug. Usage | Sept. Amount | Sept. Usage | Oct. Amount | Oct. Usage | Nov. Amount | Nov. Usage | Dec. Amount | Dec. Usage | Jan. Amount | Jan. Usage | Feb. Amount | Feb. Usage | Mar. Amount | Mar. Usage | Apr. Amount | Apr. Usage | May. Amount | May. Usage | Jun. Amount | Jun. Usage | DATA MANAGEMENT | Overview of Earlham College's Electricity Usage
[30 empty] | Months | Usage | Cost | Operational | Campus Village | College Houses | The Heart Area | Athletics
| 1000 Gurney | Sadler Stadium | Athletics | 67857 | 428.25 | 3014 | 478.31 | 3384 | 377.78 | 2632 | 379 | 2641 | 771.62 | 5533 | 1358.85 | 10256 | 2000.89 | 15176 | 1882.92 | 14272 | [9 empty] | July | 1541591 | 139729.08 | 20696 | 17596 | 15725 | 1478592 | 10454
| 1000 Gurney | Sadler Field Lights | Athletics | 68536 | 52.8 |  | 94.01 | 200 | 1007.16 | 600 | 1024.28 | 800 | 1089.04 | 1600 | 91.1 | 200 | 821.86 | 400 | 965.16 | 1800 | [9 empty] | August | 1474311 | 142472.3 | 22991 | 21429 | 23757 | 1385536 | 22144
| 1052 Gurney | Stable (old) | Operational | 61814 | 37.24 | 124 | 38.45 | 133 | 39.06 | 137 | 40.01 | 144 | 36.48 | 118 | 38.86 | 141 | 42.12 | 166 | 35.34 | 114 | [9 empty] | September | 1331584 | 137045.32 | #VALUE! | 18282 | 20176 | 1272000 | #VALUE!
| 1102 Gurney | Horsebarn | Operational | 67854 | 217.45 | 1456 | 296.34 | 2039 | 256.27 | 1737 | 365.7 | 2543 | 382.26 | 2665 | 808.4 | 6038 | 935.39 | 7011 | 693.44 | 5157 | [9 empty] | October | 1244398 | 122709.39 | 16999 | 18723 | 19028 | 1182720 | 6341
| 229 Jones House Road | Virginia Cottage | Operational | 63623 | 31.15 | 79 | 108.27 | 649 | 99.88 | 585 | 185.14 | 1213 | 353.08 | 2450 | 598.82 | 4432 | 793.92 | 5927 | 613.83 | 4547 | [9 empty] | November | 998809 | 91260.62 | #VALUE! | 24466 | 19599 | 924480 | #VALUE!
| 301 Jones House Road | McNair | Operational | 64970 | 61.59 | 304 | 65.93 | 336 | 63.36 | 316 | 111.14 | 668 | 176.45 | 1149 | 287.46 | 2046 | 393.42 | 2858 | 290.07 | 2066 | [9 empty] | December | 903244 | 85056.12 | 31321 | 40276 | 21717 | 793312 | 15456
| 303 Jones House Road | Public Safety | Operational | 64969 | 202.03 | 1342 | 244.25 | 1654 | 154.05 | 984 | 153.78 | 982 | 181.47 | 1186 | 293.59 | 2093 | 427.22 | 3117 | 318.13 | 2281 | [9 empty] | January | 974275 | 90232.64 | 38847 | 64454 | 22551 | 824288 | 22976
[30 empty] | Febuary | 873377.06 | 85530.91 | 29908.06 | 51774 | 22696 | 747232 | 21072
| 1002 Woolman | Campus Village | Campus Village | 64552 | 35.75 | 113 | 106.24 | 634 | 111.28 | 669 | 112.1 | 675 | 125.13 | 771 | 147.83 | 976 | 217.77 | 1512 | 204.2 | 1408 | [9 empty] | March | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1004 Woolman | Campus Village | Campus Village | 64554 | 80.13 | 441 | 108.95 | 654 | 101.91 | 600 | 99.74 | 584 | 108.29 | 647 | 146.78 | 968 | 215.3 | 1493 | 178.76 | 1213 | [9 empty] | April | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1012 Woolman | Campus Village | Campus Village | 64553 | 74.72 | 401 | 115.99 | 706 | 76.12 | 410 | 104.76 | 621 | 142.1 | 896 | 178.23 | 1209 | 247.39 | 1739 | 203.42 | 1402 | [9 empty] | May | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1015 Woolman | Campus Village | Campus Village | 65341 | 78.64 | 430 | 36.29 | 117 | 28.07 | 56 | 29.15 | 64 | 29.01 | 63 | 39.52 | 146 | 171.84 | 1160 | 134.77 | 876 | [9 empty] | June | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1016 Woolman | Campus Village | Campus Village | 64322 | 96.5 | 562 | 105.02 | 625 | 108.84 | 651 | 104.22 | 617 | 132.73 | 827 | 163.36 | 1095 | 231.73 | 1619 | 209.55 | 1449
| 1017 Woolman | Campus Village | Campus Village | 57520 | 90.96 | 521 | 35.88 | 114 | 32.68 | 90 | 33.77 | 98 | 52.64 | 237 | 113.11 | 710 | 177.58 | 1204 | 118.99 | 755
| 1019 Woolman | Campus Village | Campus Village | 63222 | 28.71 | 61 | 104.34 | 620 | 95.26 | 551 | 78.3 | 426 | 101.37 | 596 | 170.92 | 1153 | 253.4 | 1785 | 183.97 | 1253
| 1021 Woolman | Campus Village | Campus Village | 65295 | 90.68 | 519 | 112.74 | 682 | 128.25 | 794 | 114.27 | 691 | 151.34 | 964 | 171.57 | 1158 | 246.36 | 1731 | 230.7 | 1611
| 1022 Woolman | Campus Village | Campus Village | 63844 | 66.32 | 339 | 82.97 | 462 | 80.33 | 441 | 101.51 | 597 | 119.97 | 733 | 187.24 | 1278 | 263.71 | 1864 | 182.67 | 1243
| 1024 Woolman | Campus Village | Campus Village | 61813 | 74.45 | 399 | 93.52 | 540 | 66.89 | 342 | 44.35 | 176 | 77.89 | 423 | 148.22 | 979 | 229.52 | 1602 | 173.67 | 1174
| 1025 Woolman | Campus Village | Campus Village | 65296 | 86.49 | 488 | 97.04 | 566 | 86.44 | 486 | 91.19 | 521 | 118.75 | 724 | 167.54 | 1127 | 220.12 | 1530 | 224.69 | 1565
| 1028 Woolman | Campus Village | Campus Village | 64894 | 93.52 | 540 | 59.16 | 286 | 33.36 | 95 | 38.51 | 133 | 63.9 | 320 | 123.03 | 786 | 196.63 | 1350 | 132.82 | 861
| 1029 Woolman | Campus Village | Campus Village | 63219 | 84.6 | 474 | 99.34 | 583 | 126.09 | 778 | 123.91 | 762 | 130.42 | 810 | 160.75 | 1075 | 232.78 | 1627 | 207.08 | 1430
| 1032 Woolman | Campus Village | Campus Village | 65711 | 30.75 | 76 | 96.37 | 561 | 139.79 | 879 | 128.8 | 798 | 124.72 | 768 | 161.14 | 1078 | 233.83 | 1635 | 182.41 | 1241
| 1035 Woolman | Campus Village | Campus Village | 65298 | 30.47 | 74 | 36.15 | 116 | 29.42 | 66 | 29.96 | 70 | 32.13 | 86 | 62.09 | 319 | 185.02 | 1261 | 28.15 | 59
| 1036 Woolman | Campus Village | Campus Village | 64892 | 96.37 | 561 | 115.85 | 705 | 73 | 387 | 85.21 | 477 | 101.51 | 597 | 137.51 | 897 | 195.98 | 1345 | 154.88 | 1030
| 1037 Woolman | Campus Village | Campus Village | 65297 | 143.04 | 906 | 60.51 | 296 | 33.09 | 93 | 34.18 | 101 | 35.12 | 108 | 63.26 | 328 | 177.45 | 1203 | 132.69 | 860
| 1038 Woolman | Campus Village | Campus Village | 64893 | 78.51 | 429 | 80.26 | 442 | 77.89 | 423 | 79.65 | 436 | 78.43 | 427 | 105.55 | 652 | 194.16 | 1331 | 168.31 | 1133
| 1039 Woolman | Campus Village | Campus Village | 59893 | 48.74 | 209 | 57.67 | 275 | 31.33 | 80 | 38.38 | 132 | 80.06 | 439 | 118.21 | 749 | 156.04 | 1039 | 120.81 | 769
| 1041 Woolman | Campus Village | Campus Village | 64873 | 30.07 | 71 | 44.68 | 179 | 28.6 | 60 | 29.28 | 65 | 28.6 | 60 | 35.07 | 112 | 114.16 | 718 | 94.46 | 567
| 1042 Woolman | Campus Village | Campus Village | 64551 | 50.63 | 223 | 110.57 | 666 | 97.97 | 571 | 78.16 | 425 | 71.1 | 373 | 187.37 | 1279 | 269.32 | 1907 | 166.23 | 1117
| 1043 Woolman | Campus Village | Campus Village | 64874 | 29.39 | 66 | 31.55 | 82 | 28.47 | 59 | 29.15 | 64 | 29.01 | 63 | 44.6 | 185 | 117.42 | 743 | 91.45 | 544
| 1044 Woolman | Campus Village | Campus Village | 64891 | 36.29 | 117 | 126.67 | 785 | 93.5 | 538 | 104.76 | 621 | 138.97 | 873 | 193.89 | 1329 | 282.37 | 2007 | 246.74 | 1734
| 1045 Woolman | Campus Village | Campus Village | 64871 | 30.34 | 73 | 34.8 | 106 | 30.51 | 74 | 31.86 | 84 | 32.95 | 92 | 53.61 | 254 | 183.19 | 1247 | 152.65 | 1013
| 1050 Woolman | Campus Village | Campus Village | 65705 | 66.87 | 343 | 36.97 | 122 | 24.4 | 29 | 53.59 | 244 | 90.92 | 519 | 248.7 | 1749 | 258.36 | 1823 | 158.14 | 1055
| 1052 Woolman | Campus Village | Campus Village | 60025 | 100.96 | 595 | 108.81 | 653 | 110.07 | 660 | 76.94 | 416 | 108.02 | 645 | 166.62 | 1120 | 249.23 | 1753 | 199.9 | 1375
| 1003 Gurney | Campus Village | Campus Village | 64150 | 123.56 | 762 | 130.73 | 815 | 117.53 | 715 | 114.4 | 692 | 121.6 | 745 | 116.37 | 735 | 198.32 | 1363 | 195.19 | 1339
| 1007 Gurney | Campus Village | Campus Village | 64148 | 63.08 | 315 | 110.57 | 666 | 126.48 | 781 | 128.94 | 799 | 124.32 | 765 | 167.4 | 1126 | 246.87 | 1735 | 255.1 | 1798
| 1011 Gurney | Campus Village | Campus Village | 64149 | 44.54 | 178 | 61.05 | 300 | 60.78 | 297 | 58.34 | 279 | 68.25 | 352 | 103.07 | 633 | 147.43 | 973 | 108.42 | 674
| 1013 Gurney | Campus Village | Campus Village | 64147 | 78.37 | 428 | 70.79 | 372 | 60.78 | 297 | 64.04 | 321 | 65.4 | 331 | 74.35 | 413 | 120.29 | 765 | 129.82 | 838
| 1015 Gurney | Campus Village | Campus Village | 64320 | 66.73 | 342 | 50.76 | 224 | 56.3 | 264 | 66.75 | 341 | 95.4 | 552 | 162.7 | 1090 | 220.25 | 1531 | 208.25 | 1439
| 1017 Gurney | Campus Village | Campus Village | 64321 | 59.16 | 286 | 76.34 | 413 | 78.3 | 426 | 69.07 | 358 | 76.8 | 415 | 108.81 | 677 | 135.82 | 884 | 110.89 | 693
| 1023 Gurney | Campus Village | Campus Village | 64895 | 113.68 | 689 | 125.05 | 773 | 107.75 | 643 | 137.49 | 862 | 176.18 | 1147 | 199.63 | 1373 | 302.33 | 2160 | 340.31 | 2451
| 1025 Gurney | Campus Village | Campus Village | 65703 | 76.74 | 416 | 107.32 | 642 | 84.68 | 473 | 89.97 | 512 | 105.04 | 623 | 157.35 | 1049 | 242.96 | 1705 | 183.32 | 1248
| 1027 Gurney | Campus Village | Campus Village | 65704 | 38.72 | 135 | 73.09 | 389 | 81.01 | 446 | 91.47 | 523 | 113.32 | 684 | 108.68 | 676 | 143.78 | 945 | 117.29 | 742
| 1029 Gurney | Campus Village | Campus Village | 63221 | 28.98 | 63 | 57.12 | 271 | 47.47 | 199 | 46.8 | 194 | 77.21 | 418 | 129.16 | 833 | 130.87 | 846 | 99.28 | 604
| 1031 Gurney | Campus Village | Campus Village | 64896 | 69.3 | 361 | 64.7 | 327 | 57.66 | 274 | 59.96 | 291 | 74.22 | 396 | 107.37 | 666 | 120.16 | 764 | 85.83 | 501
| 1033 Gurney | Campus Village | Campus Village | 65706 | 115.31 | 701 | 91.62 | 526 | 69.46 | 361 | 72.59 | 384 | 89.02 | 505 | 117.42 | 743 | 151.35 | 1003 | 129.82 | 838
| 1035 Gurney | Campus Village | Campus Village | 57519 | 54.42 | 251 | 85.81 | 483 | 84.27 | 470 | 91.47 | 523 | 112.78 | 680 | 167.66 | 1128 | 230.04 | 1606 | 230.83 | 1612
| 1037 Gurney | Campus Village | Campus Village | 57517 | 95.28 | 553 | 101.1 | 596 | 62.41 | 309 | 63.36 | 316 | 93.23 | 536 | 149 | 985 | 200.29 | 1378 | 144.3 | 949
| 1039 Gurney | Campus Village | Campus Village | 65712 | 58.62 | 285 | 95.82 | 557 | 71.78 | 378 | 97.44 | 567 | 106.13 | 631 | 160.75 | 1075 | 217.51 | 1510 | 161.14 | 1078
| 1041 Gurney | Campus Village | Campus Village | 61812 | 47.24 | 198 | 49.14 | 212 | 44.49 | 177 | 48.15 | 204 | 50.33 | 220 | 111.42 | 697 | 148.09 | 978 | 121.34 | 773
| 1043 Gurney | Campus Village | Campus Village | 65713 | 64.98 | 329 | 65.38 | 332 | 57.79 | 275 | 65.67 | 333 | 96.62 | 561 | 113.89 | 716 | 147.56 | 974 | 133.74 | 868
| 1045 Gurney | Campus Village | Campus Village | 65714 | 59.96 | 292 | 51.99 | 233 | 52.91 | 239 | 49.79 | 216 | 54.4 | 250 | 89.36 | 528 | 127.6 | 821 | 101.37 | 620
| 1051 Gurney | Campus Village | Campus Village | 64484 | 154.27 | 989 | 138.18 | 870 | 115.36 | 699 | 88.88 | 504 | 137.62 | 863 | 175.49 | 1188 | 354.8 | 2562 | 329.08 | 2365
| 1053 Gurney | Campus Village | Campus Village | 64483 | 154.68 | 992 | 135.6 | 851 | 112.37 | 677 | 102.73 | 606 | 119.7 | 731 | 181.5 | 1234 | 245.31 | 1723 | 230.17 | 1607
| 223 College | Rental | Operational | 63624 | 57.65 | 247 | 71.69 | 344 | 53.85 | 220 | 110.65 | 611 | 111.67 | 618 | 183.73 | 1159 | 222.68 | 1438 | 119.22 | 697
| 227 College | Rental | Operational | 65220 | 87.84 | 98 | 53.48 | 244 | 49.51 | 214 | 143.73 | 908 | 162.6 | 1047 | 185.15 | 1262 | 194.16 | 1331 | 123.81 | 792
| 228 College | RBC | Operational | 61354 | 363.72 | 2537 | 437.19 | 3080 | 294.42 | 2018 | 220.57 | 1474 | 198.17 | 1309 | 211.77 | 1466 | 238.91 | 1674 | 211.77 | 1466
| 228 College - R | Teague | Operational | 63625 | 93.39 | 539 | 101.1 | 596 | 94.59 | 546 | 168.85 | 1093 | 212.29 | 1413 | 355.83 | 2570 | 418.35 | 3049 | 322.04 | 2311
| 229 College | Rental | Operational | 65219 | 86.08 | 485 | 31.96 | 85 | 43.81 | 172 | 40.56 | 148 | 47.07 | 196 | 52.56 | 246 | 100.59 | 614 | 587 | 97.06
| 234 College | Brown | College Houses | 61195 | 71.74 | 379 | 125.05 | 773 | 154.19 | 985 | 160.97 | 1035 | 161.78 | 1041 | 179.28 | 1217 | 168.84 | 1137 | 192.45 | 1318
| 240 College | Woodman | College Houses | 63687 | 246.41 | 1670 | 288.9 | 1984 | 320.76 | 2212 | 193.69 | 1276 | 154.32 | 986 | 115.86 | 731 | 88.84 | 524 | 112.99 | 709
| 302 College | Marshall | College Houses | 65245 | 245.46 | 1663 | 467.9 | 3307 | 361.76 | 2514 | 230.21 | 1545 | 185.14 | 1213 | 134 | 870 | 120.55 | 767 | 134.26 | 872
| 306 College | Doan | College Houses | 63690 | 155.1 | 821 | 167.71 | 913 | 109.51 | 478 | 149.02 | 767 | 135.1 | 663 | 116.16 | 549 | 86.24 | 323 | 94.53 | 386
| 310 College | Hole | College Houses | 61193 | 47.38 | 199 | 47.79 | 202 | 42.59 | 163 | 49.11 | 211 | 60.91 | 298 | 76.96 | 433 | 85.97 | 502 | 49.43 | 222
| 312 College | Public Safety | Operational | 64925 | 617 | 4409 | 644.47 | 4612 | 504.17 | 3563 | 572.73 | 4068 | 555.49 | 3941 | 612.92 | 4540 | 771.6 | 5756 | 735.32 | 5478
| 326 College | Gurney | College Houses | 63689 | 30.61 | 75 | 34.4 | 103 | 34.18 | 101 | 36.89 | 121 | 39.74 | 142 | 47.73 | 209 | 45.65 | 193 | 37.81 | 133
| 330 College | Grant | College Houses | 63688 | 100.43 | 591 | 114.22 | 693 | 86.71 | 488 | 78.43 | 427 | 85.89 | 482 | 104.24 | 642 | 179.54 | 1219 | 100.07 | 610
| 331 College | Vacant | College Houses | 65407 | 22.49 | 15 | 23.16 | 20 | 22.22 | 13 | 22.36 | 14 | 22.49 | 15 | 22.41 | 15 | 22.41 | 15 | 22.15 | 13
| 345 College | Vacant | College Houses | 65409 | 29.39 | 66 | 29.93 | 70 | 28.34 | 58 | 28.6 | 60 | 28.47 | 59 | 28.68 | 63 | 28.42 | 61 | 27.38 | 53
| 400 College | Thornburg | College Houses | 63640 | 25.19 | 35 | 25.6 | 38 | 24.81 | 32 | 36.48 | 118 | 44.89 | 180 | 118.6 | 752 | 190.37 | 1302 | 161.01 | 1077
| 404 College | Blue Shutters | College Houses | 57497 | 219.76 | 1473 | 313.39 | 2165 | 256.14 | 1736 | 117.39 | 714 | 100.15 | 587 | 80.88 | 463 | 79.19 | 450 | 101.1 | 618
| 408/410 College | Edwards | College Houses | 64967 | 104.61 | 622 | 175.92 | 1149 | 172.79 | 1122 | 144 | 910 | 125.68 | 775 | 122.77 | 784 | 95.23 | 573 | 148.22 | 979
| 414 College | Hobbs | College Houses | 64968 | 101.91 | 602 | 133.3 | 834 | 104.36 | 618 | 134.64 | 841 | 140.47 | 884 | 137.77 | 899 | 141.04 | 924 | 115.99 | 732
| 416 College | Wildman | College Houses | 61194 | 42.27 | 106 | 44.63 | 123 | 41.18 | 96 | 43.32 | 111 | 44.07 | 116 | 45.06 | 130 | 47.03 | 146 | 97.93 | 536
| 417 College (1) | Unnamed | College Houses | 57500 | 39.54 | 141 | 141.29 | 893 | 130.29 | 809 | 123.63 | 760 | 129.47 | 803 | 122.12 | 779 | 113.11 | 710 | 135.17 | 879
| 417 College (Rear) | Unnamed | College Houses | 64993 | 22.76 | 17 | 22.76 | 17 | 25.08 | 34 | 22.9 | 18 | 22.63 | 16 | 22.68 | 17 | 22.54 | 16 | 22.41 | 15
| 420 College | CCC | College Houses | 65019 | 90.96 | 521 | 140.88 | 890 | 176.18 | 1147 | 245.69 | 1659 | 276.23 | 1884 | 334.05 | 2403 | 358.06 | 2587 | 301.68 | 2155
| 426 College | Duplex | Operational | 65022 | 62.27 | 309 | 38.72 | 135 | 36.48 | 118 | 38.92 | 136 | 58.2 | 278 | 172.62 | 1166 | 232.78 | 1627 | 181.76 | 1236
| 428 College | Duplex | Operational | 65012 | 34.26 | 102 | 69.17 | 360 | 108.43 | 648 | 149.7 | 952 | 130.97 | 814 | 268.27 | 1899 | 310.04 | 2219 | 268.01 | 1897
| 430 College | Joseph Moore | Operational | 65013 | 347.35 | 2416 | 388.89 | 2723 | 208.08 | 1382 | 143.87 | 909 | 152.42 | 972 | 221.56 | 1541 | 207.85 | 1436 | 177.71 | 1205
| 440 College | Cutter | College Houses | 65021 | 157.25 | 1011 | 250.47 | 1700 | 193.42 | 1274 | 174.95 | 1138 | 181.88 | 1189 | 137.91 | 900 | 110.5 | 690 | 188.68 | 1289
| 446 College | Kelly | College Houses | 64953 | 110.97 | 669 | 115.44 | 702 | 100.56 | 590 | 111.69 | 672 | 109.25 | 654 | 109.33 | 681 | 96.15 | 580 | 104.37 | 643
| 450 College | Garner | College Houses | 65020 | 112.47 | 680 | 212.05 | 1416 | 191.79 | 1262 | 191.11 | 1257 | 157.17 | 1007 | 108.55 | 675 | 88.19 | 519 | 140.26 | 918
| 712 College | President | Operational | 67792 | 350.73 | 2441 | 258.59 | 1760 | 110.34 | 662 | 100.15 | 587 | 116.84 | 710 | 172.1 | 1162 | 171.71 | 1159 | 111.15 | 695
| 805 College | VIP |  | 40464
| 525 SW G | Fry | College Houses | 65461 | 50.76 | 224 |  | 781 | 163.69 | 1055 | 264.97 | 1801 | 452.86 | 3185 | 588.39 | 4352 | 642.15 | 4764 | 611.22 | 4527
| 610 NRW | Russell | College Houses | 67564 | 30.34 | 73 | 44.54 | 178 | 42.45 | 162 | 46.26 | 190 | 58.75 | 282 | 91.84 | 547 | 118.73 | 753 | 90.41 | 536
| 620 NRW | Penn | College Houses | 67565 | 117.6 | 718 | 133.84 | 838 | 136.26 | 853 | 132.59 | 826 | 119.16 | 727 | 106.72 | 661 | 84.54 | 491 | 109.99 | 686
| 624 NRW | Reece | College Houses | 67556 | 53.34 | 243 | 81.48 | 451
| 700 NRW/136 SW 7th | Wilbur | College Houses | 71055 | 40.08 | 145 | 39.67 | 142 | 36.34 | 117 | 44.35 | 176 | 45.3 | 183 | 50.47 | 230 | 56.21 | 274 | 38.99 | 142
| 130 SW 8th | Rental | Operational | 67278 | 265.22 | 1809 | 269.28 | 1839 | 209.44 | 1392 | 176.59 | 1150 | 124.32 | 765 | 114.68 | 722 | 101.89 | 624 | 94.06 | 564
| 706 NRW | Bright | College Houses | 67614 | 23.03 | 19 | 23.16 | 20 | 22.77 | 17 | 23.17 | 20 | 22.9 | 18 | 23.07 | 20 | 22.81 | 18 | 22.81 | 18
| 712 NRW | Foster | College Houses | 67613 | 147.1 | 936 | 161.32 | 1040 | 133.95 | 836 | 170.61 | 1106 | 186.49 | 1223 | 224.95 | 1567 | 224.56 | 1564 | 228.09 | 1591
| 716 NRW | Fell | College Houses | 67611 | 27.63 | 53 | 23.3 | 21 | 22.9 | 18 | 26.43 | 44 | 36.21 | 116 | 48.26 | 213 | 56.35 | 275 | 24.12 | 28
| 770 NRW | Vacant | College Houses | 67108 | 140.2 | 885 | 209.2 | 1395 | 166.54 | 1076 | 133.14 | 830 | 92.68 | 532 | 90.54 | 537 | 131.64 | 852 | 112.73 | 707
| 806 NRW | Marmon | College Houses | 57837 | 159.82 | 1030 | 132.62 | 829 | 62.55 | 310 | 72.19 | 381 | 66.48 | 339 | 69.79 | 378 | 62.48 | 322 | 60.13 | 304
| 900 NRW | Mott | College Houses | 49384 | 26.28 | 43 | 29.93 | 70
| 912 NRW | Darby |  | 49383
| 801 NRW | Storage Barn | Operational | 54342 |  |  | 69.43 | 362
| 801 NRW | Beane Stadium | Athletics | 55256 |  |  | 1639.5 | 10560
| 801 NRW | Boiler/Chiller | The Heart Area | 50552 | 120825.22 | 1396800 | 118503.81 | 1307200 | 117118.49 | 1200000 | 103939.19 | 1113600 | 72396.67 | 864000 | 64565.33 | 750400 | 64117.75 | 780800 | 61979.36 | 707200
| 801 NRW | CVPA | The Heart Area | 61519 | 8060.3 | 81792 | 9571.03 | 78336 | 8969.5 | 72000 | 7403.11 | 69120 | 5942.64 | 60480 | 4166.58 | 42912 | 3916.44 | 43488 | 3860 | 40032
| 801 NRW | Loose V. Locker Room | Athletics | 56258 | 548.08 | 4440 | 507.13 | 3800
| 801 NRW | Matlack-Messer Stadium | Athletics | 55678 | 408.51 | 3000 | 549.31 | 4200 | 459.2 | 3200 | 549.92 | 2900 | 511.66 | 3500 | 639.77 | 5000 | 893.44 | 7400 | 676.83 | 5000
| 1000 Block Gurney Dr | Outdoor lighting |  |  | 117.27 | 400 | 53.2
| 600 Block Earlham Dr | Outdoor lighting |  |  | 44.82 |  | 45.18
| 1002-1028 Woolman | Outdoor lighting |  |  | 59.13 |  | 59.4
| Earlham Rear Path | Outdoor lighting |  |  | 42.55 |  | 42.83
| 1037 Woolman | Outdoor lighting |  |  | 7.47 |  | 7.53
506 Colleg Ave Rental
| 1000 Gurney Batting Cage |  |  |  | 105.31 | 127 | 139.5 | 494
510 College

## Natural Gas
| Constellation |  | Usage in DTH | Natural Gas | 2024 | [11 empty] | 2025
DATABASE | Address | Building | Building Types | Account/Meter | Jul Amount | Jul. Usage | Aug. Amount | Aug. Usage | Sept. Amount | Sept. Usage | Oct. Amount | Oct. Usage | Nov. Amount | Nov. Usage | Dec. Amount | Dec. Usage | Jan. Amount | Jan. Usage | Feb. Amount | Feb. Usage | Mar. Amount | Mar. Usage | Apr. Amount | Apr. Usage | May. Amount | May. Usage | Jun. Amount | Jun. Usage | DATA MANAGEMENT | Overview of Earlham College's Natural Gas Usage
[30 empty] | Months | Usage | Cost | Operational | College Houses | Residential | Athletics
| 801 NRW | Small (CVPA) | Academic | 746 | 399.34 | 139.1 | 358.29 | 124.8 | 473.99 | 165.1 | 959.91 | 245 | 862.74 | 220.2 | 1436.73 | 366.7 | [13 empty] | Jan | 26590 | 42577.7
| 801 NRW | Large (Boiler) | Operational | 703 | 13182.89 | 4591.9 | 11340.34 | 3950.1 | 13310.93 | 4656.5 | 23821.44 | 6080 | 25992.8 | 6634.2 | 33980.42 | 8672.9 | [13 empty] | Feb | 24111.8 | 37939.18
[30 empty] | Mar | 30863.2 | 44347.62
[30 empty] | Apr | 33478 | 69188.84
| Centerpoint | 2024 | Usage in CCF | Natural Gas | [25 empty] | May | 42346.8 | 75952.9
[30 empty] | Jun | 68031.2 | 104523.3
[30 empty] | Jul | 75346.32 | 43897.08
| 301 Jones House Road | McNair/Public Safety | Operational | N1269706 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 | 46.95 | 32.145 | 33.74 | 19 | 89.6 | 105 | 138.58 | 169.45 |  |  | 83.71 | 81.453 | [7 empty] | Aug | 0 | 0
| 228 College - R | Teague | Operational | N1242795 | 17.98 | 0 | 17.98 | 0 | 18.75 | 1 | 84.05 | 73.347 | 155.1 | 166 | 450.2 | 637 | 686.94 | 957.49 |  |  | 336.94 | 395.25 | [7 empty] | Sep | 15967.432 | 0
| 234 College | Brown | College Houses | N1084397 | 15.87 | 0 | 15.87 | 0 | 15.97 | 0 | 70.37 | 55.276 | 120.47 | 120 | 275.08 | 368 | 383.78 | 505.72 |  |  | 283.05 | 315.146 | [7 empty] | Oct | 0 | 0
| 240 College | Woodman | College Houses | N1240272 | 20.68 | 3 | 21.6 | 4 | 27.97 | 14 | 52.22 | 39.331 | 114.92 | 118 | 260.68 | 354 | 372.61 | 498.32 |  |  | 233.67 | 267.716 | [7 empty] | Nov | 0 | 0
| 302 College | Marshall | College Houses | N1253726 | 28.77 | 17 | 32.47 | 17 | 44.96 | 37 | 97.07 | 92.481 | 175.71 | 193 | 390.26 | 545 | 579.78 | 800.91 |  |  | 327.97 | 385.764 | [7 empty] | Dec | 0 | 0
| 306 College | Doan | College Houses | N1242783 | 19.77 | 2 | 20.7 | 3 | 22.6 | 6 | 81.43 | 71.221 | 114.28 | 117 | 293.36 | 402 | 408.9 | 551.22 |  |  | 264.45 | 305.66
| 310 College | Hole | College Houses | N1242803 | 15.87 | 0 | 15.87 | 0 | 17.61 | 2 | 56.3 | 40.394 | 89.28 | 83 | 248.61 | 330 | 321.36 | 418.97 |  |  | 15.94 | 0
| 326 College | Gurney | College Houses | N1242817 | 17.98 | 0 | 18.89 | 1 | 21.06 | 4 | 69.43 | 57.402 | 109.24 | 110 | 243.24 | 329 | 377.75 | 505.72 |  |  | 191.42 | 215.016
| 330 College | Grant | College Houses | N1242808 | 15.87 | 0 | 15.87 | 0 | 17.61 | 2 | 55.24 | 39.331 | 86.62 | 80 | 219.93 | 289 | 111.31 | 126.96 |  |  | 15.94 | 0
| 331 College | Vacant | College Houses | N1242819 | 18.05 | 1 | 16.98 | 0 | 16.98 | 0 | 16.98 | 0 | 16.98 | 0 | 15.87 | 0 | 16.38 | 1.06 |  |  | 15.94 | 0
| 400 College | Thornburg | College Houses | N1665873 | 15.87 | 0 | 15.87 | 0 | 15.88 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.92 | 0 |  |  | 15.94 | 0
| 400 1/2 College | Thornburg | College Houses | N1665871 | 15.87 | 0 | 15.87 | 0 | 15.88 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.92 | 0 |  |  | 15.94 | 0
| 404 College | Blue Shutters | College Houses | N1240246 | 20.22 | 3 | 25.64 | 8 | 31.97 | 17 | 46.93 | 30 | 84.07 | 71 | 143.49 | 178 | 206.47 | 256 |  |  | 127.64 | 129.642
| 408/410 College | Edwards | College Houses | N1240310 | 28.97 | 14 | 30.04 | 15 | 36.9 | 26 | 55.84 | 44 | 99.81 | 98 | 252.33 | 335 | 32.17 | 20 |  |  | 222.94 | 244.528
| 414 College | Hobbs | College Houses | N1240312 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 56.36 | 40 | 98.23 | 93 | 169.93 | 216 | 241.43 | 308 |  |  | 119.43 | 119.102
| 416 College | Wildman | College Houses | N1240302 | 18.9 | 3 | 19.91 | 4 | 19.37 | 4 | 55.46 | 40 | 101.3 | 98 | 251.56 | 334 | 383.01 | 505 |  |  | 200.96 | 217.124
| 417 College | Unnamed | College Houses | N1240305 | 16.98 | 0 | 19.13 | 2 | 16.98 | 0 | 137.3 | 119 | 188.72 | 187 | 288.33 | 387 | 378.44 | 498 |  |  | 231.08 | 252.96
| 420 College | CCC | College Houses | N1240304 | 19.9 | 4 | 20.92 | 5 | 33.37 | 21 | 145.31 | 139 | 161.36 | 170 | 303.78 | 410 | 383.76 | 506 |  |  | 252.63 | 279.31
| 430 College | Joseph Moore | Operational | N1240306 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 76.18 | 62 | 124.9 | 125 | 294.93 | 397 | 467.47 | 622 |  |  | 239.96 | 263.5
| 440 College | Cutter | College Houses | N1240303 | 21.58 | 4 | 27.04 | 11 | 31.85 | 19 | 73.24 | 64 | 160.1 | 173 | 245.44 | 332 | 277.78 | 365 |  |  | 232.48 | 266.662
| 446 College | Kelly | College Houses | N1240266 | 18.9 | 3 | 18.91 | 3 | 19.37 | 4 | 18.31 | 3 | 18.42 | 3 | 18.37 | 3 | 19.38 | 4 |  |  | 87.51 | 81.158
| 450 College | Garner | College Houses | N1240242 | 16.98 | 0 | 16.98 | 0 | 16.98 | 0 | 16.98 | 0 | 86.03 | 72 | 192 | 248 | 198.03 | 248 |  |  | 152.86 | 159.154
| 712 College | President | Operational | N1346446 | 26.95 | 12 | 22.93 | 7 | 32.51 | 20 | 86.29 | 75 | 117.35 | 118 | 263.36 | 351 | 370.08 | 487 |  |  | 222.45 | 243.474
| 805 College | VIP |  | N1346446 | [16 empty] | 222.45 | 243.474
| 18 SW 7th | Anderson Cottage | College Houses | N1548888 | 21.29 | 4 | 26.74 | 10 | 29.16 | 14 | 34.28 | 18 | 33.81 | 18 | 74.35 | 79 | 106.74 | 121 |  |  | 61.62 | 50.592
| 130 SW 8th | Rental | Operational | N0788782 | 24.52 | 7 | 25.64 | 8 | 27.26 | 12 | 36.54 | 20 | 54.82 | 39 | 138.34 | 171 | 202.59 | 254 |  |  | 108.22 | 106.454
| 610 NRW | Russell | College Houses | N0700100 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.92 | 0 |  |  | 15.94 | 0
| 620 NRW | Penn | College Houses | N0788694 | 19.9 | 4 | 29.04 | 14 | 35.16 | 23 | 123.86 | 117 | 223.1 | 244 | 340.55 | 463 | 421.83 | 559 |  |  | 295.38 | 330.956
| 624 NRW | Reece | College Houses | N0700528 | 19.9 | 4 | 22.93 | 7 | 27.25 | 14 | 75.46 | 63 | 118.67 | 119 | 238.33 | 315 | 352.56 | 462 |  |  | 157.61 | 165.478
| 700 NRW/136 SW 7th | Wilbur | College Houses | N0699962 | 22.92 | 7 | 21.92 | 6 | 24.62 | 11 | 72.53 | 60 | 112.42 | 111 | 200.82 | 261 | 327.43 | 0 |  |  | 18.61 | 3.162
| 706 NRW | Bright | College Houses | N0788878 | 19.9 | 4 | 19.91 | 4 | 19.37 | 4 | 19.12 | 4 | 19.29 | 4 | 19.2 | 4 | 20.2 | 5 |  |  | 19.52 | 4.216
| 712 NRW | Foster | College Houses | N0787843 | 16.87 | 1 | 17.88 | 2 | 16.74 | 1 | 37.87 | 22 | 70.44 | 60 | 182.42 | 234 | 263.53 | 339 |  |  | 15.94 | 0
| 716 NRW | Fell | College Houses | N1441738 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 23.32 | 7 | 37.56 | 23 | 93.47 | 106 | 140.23 | 167 |  |  | 15.94 | 0
| 770 NRW | Vacant | College Houses | N0788864 | 16.98 | 0 | 16.98 | 0 | 17.91 | 1 | 34.05 | 16 | 61.25 | 45 | 144.86 | 167 | 195.03 | 243 |  |  | 110.61 | 108.562
| 806 NRW | Marmon | College Houses | N1393575 | 15.87 | 0 | 15.87 | 0 | 16.74 | 1 | 98.54 | 86 | 179.31 | 191 | 395.89 | 542 | 594.42 | 801 |  |  | 332.50 | 374.17
| 900 NRW | Mott | College Houses | N0842078 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 | 17.98 | 0 |  |  | 17.98 | 0
| 912 NRW | Darby | College Houses | N0787873 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 15.92 | 0 |  |  | 15.94 | 0
| 701 NRW | Barrett | Residence Hall | N1517376 | 375.21 | 385 | 376.63 | 384 | 452.53 | 561 | 431.74 | 576.146 | 310.15 | 373 | 257.57 | 303 | 242.66 | 273 |  |  | 285.12 | 324.632
| 801 NRW |  | Residence Hall | N0787873 | [16 empty] | 15.94 | 0
| 801 NRW |  | Residence Hall | N1084397 | [16 empty] | 283.05 | 315.146
| 801 NRW |  | Residence Hall | N1161607
| 701 NRW | Bundy | Residence Hall | N1396255 | 48.77 | 0 | 57.89 | 11 | 101.43 | 73 | 91.73 | 64.29 | 96.17 | 68 | 77.39 | 42 | 54.66 | 8 |  |  | 86.58 | 51.941
| 701 NRW | W/W/M | Residence Hall | N1502617 | 382.18 | 393 | 486.58 | 514 | 671.25 | 876 | 601.21 | 840.535 | 502.79 | 655 | 554.8 | 745 | 631.33 | 833.03 |  |  | 571.94 | 727.176
| 701 NRW | Hoerner | Operational | N0890787 | 69.26 | 60 | 71.41 | 63 | 60.36 | 59 | 58.48 | 60.591 | 56.6 | 55 | 66.16 | 70 | 144.22 | 177.74 |  |  | 72.45 | 74.834
| 701 NRW | OA | Academic | N0923820 | 101.83 | 63 | 202.91 | 213 | 192.3 | 215 | 192.3 | 214.726 | 48.77 | 0 | 48.77 | 0 | 48.77 | 0 |  |  | 48.77 | 0
| 801 NRW | Dennis | Academic | N1084499 | 17.98 |  | 18.75
| 701 NRW | Boiler | Academic | N0761056 | 3833.54 | 4583 | 3892.61 | 4627 | 4633.56 | 6068 | 4633.56 | 6068 | 4900.17 | 6621 | 5889.54 | 8656 | 7199.77 | 15916 |  |  | 5,130.01 | 6911
| 801 NRW | CVPA | Athletics | N1248867 | 417.3 | 1388 | 391.31 | 1245 | 484.28 | 1648 | 663.47 | 2445 | 607.26 | 2197 | 946.2 | 3660 | 1257 | 5019
| 701 NRW | Dennis | Academic | N0890788 | 24.28 | 7 | 17.98 | 0 | 18.75 | 1 | 20.81 | 4.252 | 22.43 | 6 | 17.98 | 0 | 17.98 | 0 |  |  | 21.80 | 5.27
| 801 NRW | Lilly | Academic | N1124041 | 54.82 | 7 | 54.84 | 7 | 52.24 | 5 | 70.24 | 32.145 | 55.41 | 10 | 53.68 | 7 | 55.49 | 9.48 |  |  | 59.08 | 14.166
| 701 NRW | Loose V. Locker Room | Academic | N1233887 | 66.76 | 21 | 74.11 | 30 | 66.49 | 25 | 68.65 | 29.764 | 101.49 | 75 | 288.22 | 348 | 504.61 | 647.5 |  |  | 253.64 | 281.418
| 801 NRW | Stanley | Unit Gener | N1240957 | 107.6 | 11 | 104.6 | 7 | 103.71 | 7 | 130.37 | 47.622 | 106 | 11 | 113.24 | 21 | 143.14 | 62.8 |  |  | 138.05 | 54.302
| 229 College Ave | Rental | Operational | N1242846 | 16.98 | 0 | 16.98 | 0 | 17.91 | 1 | 47.72 | 28.701 | 98.42 | 86 | 185.77 | 222 | 214.04 | 269.79 |  |  | 84.24 | 76.942
| 223 College Ave | Rental | Operational | N1637764 | 27.77 | 11 | 33.22 | 16 | 31.04 | 16 | 57.93 | 41 | 80.44 | 68 | 155.97 | 196 | 209.53 | 263 |  |  | 138.61 | 143.344
| 227 College Ave | Rental | Operational | N1242851 | 16.98 | 0 | 16.98 | 0 | 17.91 | 1 | 24.92 | 7 | 24.32 | 7 | 60.39 | 58 | 167.64 | 205 |  |  | 149.31 | 154.938
| 504 NW 5th ST |  | College Houses | N1225185 | 59.56 | 13 | 64.17 | 18 | 62.84 | 19 | 108.28 | 70 | 172.72 | 149 | 387.61 | 495 | 568.94 | 738 |  |  | 303.64 | 320.416
| 528 NRW |  | College Houses | N0867173 | 15.87 | 0 | 15.87 | 0 | 15.87 | 0 | 56.36 | 40 | 83.1 | 75 | 175.1 | 224 | 259.72 | 333 |  |  | 122.94 | 123.318
| 609 NRW |  | College Houses | N0626223 | 765.96 | 847 | 652.43 | 715 | 602.33 | 777 | 520.03 | 714 | 605.91 | 795 | 746.07 | 1037 | 1167.41 | 1612 |  |  | 613.28 | 778.906
| 701 NRW | EH | Residence Hall | N1515912 | 618.55 | 678 | stop
[5 empty] | 21288.85 | 13295 | 18969.59 | 12055.9 | 22173.81 | 15431.6 | 34594.42 | 16739 | 37976.45 | 21173.4 | 52261.65 | 34015.6 | 21948.54 | 37673.16

## Wastewater
Richmond Sanitary District (9245) |  | 2024 | Unit |  | Wastewater Treatment
DATABASE | Address | Building | Building Types | Meter | Jul Amount | Jul. Usage | Aug. Amount | Aug. Usage | Sept. Amount | Sept. Usage | Oct. Amount | Oct. Usage | Nov. Amount | Nov. Usage | Dec. Amount | Dec. Usage | Jan. Amount | Jan. Usage | Feb. Amount | Feb. Usage | Mar. Amount | Mar. Usage | Apr. Amount | Apr. Usage | May. Amount | May. Usage | Jun. Amount | Jun. Usage | DATA MANAGEMENT | Overview of Earlham College's Wastewater Usage
[30 empty] | Months | Usage | Cost | Academic | Operational | Residential
| 1000 Gurney | Sadler Stadium |  |  | 35.95 | [24 empty] | Jan | 12 | 3896.6
| 1052 Gurney | Horsebarn |  |  | 158.07 | [24 empty] | Feb | 0 | 0
[30 empty] | Mar | 0 | 0
| 1003/1007 Gurney | Campus Village |  |  | 97.06 | [24 empty] | Apr | 0 | 0
| 1011/1013 Gurney | Campus Village |  |  | 31.53 | [24 empty] | May | 0 | 0
| 1015/1017 Gurney | Campus Village |  |  | 37.35 | [24 empty] | Jun | 0 | 0
| 1023/1025 Gurney | Campus Village |  |  | 96.69 | [24 empty] | Jul | 0 | 0
| 1027/1029/1031/1033 Gurney | Campus Village |  |  | 50.41 | [24 empty] | Aug | 0 | 0
| 1035/1037 Gurney | Campus Village |  |  | 40.97 | [24 empty] | Sep | 0 | 0
| 1039/1041/1043/1045 Gurney | Campus Village |  |  | 36.25 | [24 empty] | Oct | 0 | 0
| 1051/1053 Gurney | Campus Village |  |  | 45.69 | [24 empty] | Nov | 0 | 0
[30 empty] | Dec | 0 | 0
| 1002/1004 Woolman | Campus Village |  |  | 33.95
| 1012/1016 Woolman | Campus Village |  |  | 41.41
| 1015/1017 Woolman | Campus Village |  |  | 33.42
| 1019/1021 Woolman | Campus Village |  |  | 32.53
| 1022/1024 Woolman | Campus Village |  |  | 32.67
| 1025/1029 Woolman | Campus Village |  |  | 40.97
| 1028/1032 Woolman | Campus Village |  |  | 35.04
| 1035/1037 Woolman | Campus Village |  |  | 31.53
| 1036/1038 Woolman | Campus Village |  |  | 46.67
| 1039/1041/1043/1045 Woolman | Campus Village |  |  | 36.25
| 1042/1044 Woolman | Campus Village |  |  | 37.86
| 1050/1052 Woolman | Campus Village |  |  | 31.53
| 228 College - R | RBC
| 228 College - R | Teague |  |  | 36.25
| 234 College | Brown |  |  | 34.92
| 240 College | Woodman |  |  | 37.53
| 302 College | Marshall |  |  | 41.97
| 302 College - R | McNair |  |  | 87.74
| 306 College | Doan
| 310 College | Hole |  |  | 32.16
| 312 College | Public Safety |  |  | 50.41
| 326 College | Gurney
| 330 College | Grant |  |  | 32.53
| 400 College | Thornburg |  |  | 32.53
| 404 College | Blue Shutters |  |  | 32.53
| 408/410 College | Edwards |  |  | 64.57
| 414 College | Hobbs |  |  | 34.53
| 416 College | Wildman |  |  | 35.53
| 417 College | Unnamed |  |  | 31.53
| 420 College | CCC |  |  | 35.53
| 426/428 College | Duplex |  |  | 32.53
| 430 College | Joseph Moore
| 440 College | Cutter |  |  | 91.17 | 12
| 446 College | Kelly |  |  | 35.79
| 450 College | Garner |  |  | 32.53
| 712 College | President |  |  | 38.25
| 805 College | VIP
| 525 SW G | Fry |  |  | 25.53
| 130 SW 8th | Rental |  |  | 36.25
| 610 NRW | Russell |  |  | 36.53
| 620 NRW | Penn |  |  | 32.53
| 624 NRW | Reece |  |  | 51.39
| 700 NRW/136 SW 7th | Wilbur |  |  | 31.53
| 706 NRW | Bright |  |  | 31.53
| 712 NRW | Foster |  |  | 35.03
| 716 NRW | Fell |  |  | 31.53
| 770 NRW | Vacant |  |  | 40.97
| 806 NRW | Marmon |  |  | 605.91
| 900 NRW | Mott |  |  | 31.53
| 912 NRW | Darby |  |  | 31.53
| 801 NRW | CST |  |  | 393.99
| 801 NRW | W/W/M
| 801 NRW | Beane |  |  | 333.72
| 801 NRW | CVPA |  |  | 191.8
| 801 NRW | Big Bill Total:
903
703
746
756
| 801 NRW Flow Loss 0726 | 08000-0001151000
| 801 NRW Flow Loss 0746 | 08000-0001151000
| 227 College Rental | 00703-0048589000
| 223 College Rental |  |  |  | 40.97